## Checking Aids
|  | CHECKING AIDS |  |  |  | Doc. No. - F/01/20 Issue Date - 01 , 01 07.18 Rev. no. - 01 , 10.07.2020
PART NAME : PLANETARY GEAR |  | CUSTOMER - ZF |  |  | CHECKING AID NUMBER SSB/ 4475_480_053_DES001
PART NO.: - 4475_480_053_DES001 |  | Drg. REVISION NO. & DATE - None/14.09.2016
SR. NO | GAUGE TYPE | INSTRUMENT/GAUGE NUMBER | LEAST COUNT (MM) | RANGE (MM) | CALIBRATION FREQUENCY | CALIBRATION Done DATE
1 | Microscope | SSB/MS-01/254076 | -- | 100X | 1 year | 13.09.2022
2 | UTM | SSB/UTM/4/2018-6047 | -- | 400 KN | 1 year | 13.09.2022
3 | Impact machine | SSB/ITM/03/2018-1456 | -- | 500 N | 1 year | 13.09.2022
4 | Birnell Hardness testing machine | SSB/BH/17/09/027 | -- | 3000 kg | 1 year | 13.09.2022
5 | Pyrometer | SSB/IRPM/01/91850052 | 1°c | 200-1600 °C | 1 year | 19.09.2022
6 | DIG. TEMP. CONTROLLER | SSB/DTC-05 | 1°c | 0-1000°C | 1 year | 08.09.2022
7 | Comparator Stand | SSB/DC-05 | -- | Ø250 | 1 year | 09.09.2022
8 | Plunger Dial | SSB/DI-65/ZHU468 | 0.01 | 0-10 mm | 1 year | 05.12.2022
9 | Comparator Stand | SSB/DC-08 | -- | Ø250 | 1 year | 09.09.2022
10 | Plunger Dial | SSB/DI-66/ZHU464 | 0.01 | 0-10 mm | 1 year | 07.12.2022
11 | Comparator Stand | SSB/DC-09 | -- | Ø250 | 1 year | 09.09.2022
12 | Plunger Dial | SSB/DI-67/ZHU470 | 0.01 | 0-10 mm | 1 year | 07.12.2022
13 | Comparator Stand | SSB/DC-69 | -- | Ø225 | 1 year | 09.09.2022
14 | Plunger Dial | SSB/DI-70/M4923 | 0.01 | 0-10 mm | 1 year | 05.12.2022
15 | Comparator Stand | SSB/DC-96 | -- | Ø225 | 1 year | 12.09.2022
16 | Plunger Dial | SSB/DI-58/URX083 | 0.001 | 0-1 mm | 1 year | 06.12.2022
17 | Comparator Stand | SSB/DC-97 | -- | Ø225 | 1 year | 08.09.2022
18 | Plunger Dial | SSB/DI-127/WMH761 | 0.001 | 0-1 mm | 1 year | 05.12.2022
19 | Comparator Stand | SSB/DC-98 | -- | Ø225 | 1 year | 09.09.2022
20 | Plunger Dial | SSB/DI-229/XGN279 | 0.001 | 0-1 mm | 1 year | 06.12.2022
21 | Comparator Stand | SSB/DC-11 | -- | Ø225 | 1 year | 10.09.2022
22 | Plunger Dial | SSB/DI-230/XGN282 | 0.001 | 0-1 mm | 1 year | 05.12.2022
23 | Roughness Tester | 207461107/SSB/RT/01 | -- | -- | 1 year | 07.12.2022
24 | Contracer | SSB/CC-01/400030901 | -- | 100*50 | 1 year | 22.02.2023
25 | HEIGHT GAUGE | SSB/DHG-03/2014498 | 0.001 | 0-300 | 1 year | 10.09.2022
26 | BORE GAUGE | SSB/BG-07/9608301 | 0.001 | 50-150 mm | 1 year | 06.12.2022
27 | Micrometer | SSB/MM-02/LO782 | 0.01 | 100-125 mm | 1 year | 06.12.2022
28 | Air Plug Gauge | SSB/APG/88A SSB/APG/88B | 0.001 | 71.8150 + 0.0130 71.8150 - 0.0160 | 1 year | 14.01.2023
29 | DVC | SSB/DVC-01 | 0.001 | 0-300 mm | 1 year | 06.12.2022
30 | Lever Dial | SSB/LD/03/YQF632 | 0.001 | 0-0.14 mm | 1 year | 06.12.2022
31 | Lever Dial | SSB/LD/06/QCP580 | 0.001 | 0-0.14 mm | 1 year | 06.12.2022
32 | Lever Dial | SSB/LD/01/ZEC578 | 0.001 | 0-0.14 mm | 1 year | 06.12.2022
33 | CMM | SSB/CMM/01 | 0.0001 | X-700 , Y-1000 , Z-600 | 1 year | 13.02.2023
34 | DIGITAL LUX METER | SSB/DLM/IN170610133 | -- | 0-50000 LUX | 1 year | 19.09.2022
35 | DIGITAL UV METER | SSB/DUM/S.0091194 | -- | 0-5000 Micro watt/cm2 | 1 year | 19.09.2022
Prepared By :- Sonu Jangid |  |  |  | Approved By: Chandan Jangid

## Gauge List
|  | Gauge List |  |  |  |  | Doc. No. - F/01/20 Issue Date - 01 , 01 07.18 Rev. no. - 01 , 10.07.2020
PART NAME : PLANETARY GEAR |  |  | CUSTOMER - ZF |  |  | CHECKING AID NUMBER SSB/4475_480_053/6
PART NO.: - 4475_480_053_DES001 |  |  | Drg. REVISION NO. & DATE - None
SR. NO | Product Characteristics | GAUGE TYPE | INSTRUMENT/GAUGE NUMBER | LEAST COUNT (MM) | RANGE (MM) | CALIBRATION FREQUENCY | CALIBRATION Done DATE
1 | OD1:- Ø101.40 -0.10 mm | Comparator Stand | SSB/DC/52 | -- | Ø250mm | 1 Year | 2023-09-08
|  | Plunger Dial | SSB/DI/58/URX083 | 0.001 mm | 0-1 mm | 1 Year | 2023-12-09
2 | Radial Runout 0.03 (Datum Z1) | CMM | SSB/CMM/01 | 0.0001 | X-700 , Y-1000 , Z-600 | 1 year | 13.02.2023
3 | ID :- Ø72.30±0.050 mm | Comparator Stand | SSB/DC/54 | -- | Ø250mm | 1 Year | 2023-09-08
|  | Plunger Dial | SSB/DI/56/M5180 | 0.01 mm | 0-10 mm | 1 Year | 2023-12-09
6 | Total Height :- 45.0 -0.40 | Comparator Stand | SSB/DC/56 | -- | Ø250mm | 1 Year | 2023-09-08
|  | Plunger Dial | SSB/DI/64/ZHU463 | 0.001 mm | 0-1 mm | 1 Year | 2023-12-09
7 | Face Runout 0.02 (Datum F1) | CMM | SSB/CMM/01 | 0.0001 | X-700 , Y-1000 , Z-600 | 1 year | 13.02.2023
8 | Face Runout 0.02 (Datum F2) | CMM | SSB/CMM/01 | 0.0001 | X-700 , Y-1000 , Z-600 | 1 year | 13.02.2023
11 | Groove Height :- 21.425±0.10 mm | Groove Height Gauge | SSB/GNG/235 | -- |  |  |  | ordered
16 | Bore :- 71.80 H7 (+0.030) mm | Air Plug Gauge | SSB/APG/88A SSB/APG/88B | 0.001 mm | 71.8150 + 0.0130 mm 71.8150 - 0.0160 mm | 1 Year | 14.09.2023
19 | Groove Dia. 73.90±0.05 mm | Comparator Stand | SSB/DC/83 | -- | Ø250mm | 1 Year | 2023-09-08
|  | Plunger Dial | SSB/DI/97/XGN262 | 0.001 mm | 0-1 mm | 1 Year | 2023-12-09
20 | Groove Width:- 2.22±0.050 | Width Gauge | SSB/GNG/202 | -- | 2.20+0.07 mm | 1 Year | 15.12.2023
Prepared By :- Sonu Jangid |  |  |  | Approved By: Chandan Jangid